## Money to Burn

Click here to view Table 1

Click here to view Table 2

| # Technique | Gases | Power | # Supplies | Total |
| --- | --- | --- | --- | --- |
| # FAA | 2,500 | 200 | 1,300 | 4,000 |
| GFAA | 200 | 400 | 5,000 | 5,600 |
| ICP-OES | 3,500 | 1,000 | 2,300 | 6,800 |
| ICP-MS | 3,500 | 1,000 | 11,000 | 15,500 |

### Table I: Estimated annual operating cost (US$) for an AS instrument running 1000 hours/year

| Technique | Operating Cost/Sample (a) | Operating Cost/Sample (b) |
| --- | --- | --- |
| FAA | 0.22 | 0.02 |
| GFAA | 5.60 | 0.56 |
| ICP-OES | 0.34 | 0.34 |
| ICP-MS | 0.78 | 0.78 |

### Table 2: Estimated AS operating costs for samples requiring (a) ten analytes; (b) one analyte.